8.5 Fire safety and emergency evacuation

Policy statement

We ensure our premises present no risk of fire by ensuring the highest possible standard of fire precautions. The person in charge and staff are familiar with the current legal requirements. Where necessary we seek the advice of a competent person, such as a Fire Officer, or Fire Safety Consultant.  A Fire Safety Log is used to record the findings of risk assessment, any actions taken or incidents that have occurred and our fire drills.  We ensure our policy is in line with the procedures specific to our building, making reasonable adjustments as required.

Procedures

Fire safety risk assessment

- The basis of fire safety is risk assessment, carried out by a ‘competent person’.

- The manager has received training in fire safety sufficient to be competent to carry out the risk assessment; this will be written where there are more than five staff and will follow the Government guidance Fire Safety Risk Assessment - Educational Premises (HMG 2006).

- Our fire safety risk assessment focuses on the following for each area of the setting:

- Electrical plugs, wires and sockets.

- Electrical items.

- Cookers.

- Flammable materials – including furniture, furnishings, paper etc.

- Flammable chemicals.

- Means of escape.

- Anything else identified.

Fire safety precautions taken

- Fire doors are clearly marked, never obstructed and easily opened from the inside.

- Smoke detectors/alarms and fire fighting appliances conform to BS EN standards, are fitted in appropriate high risk areas of the building and are checked as specified by the manufacturer.

- We have all electrical equipment checked annually by a qualified electrician. Any faulty electrical equipment is taken out of use and either repaired or replaced.

- We ensure sockets are covered.

- Our emergency evacuation procedures are approved by the Fire Safety Officer and are:

- clearly displayed in the premises;

- explained to new members of staff, volunteers and parents; and

- practised regularly, at least once every half term.

- Records are kept of fire drills and of the servicing of fire safety equipment.

Emergency evacuation procedure

- All parents, carers and visitors to the setting are advised of evacuation procedures, at the very least, on first entry to the building.  Children learn these through drills.  These procedures form part of staff induction.

- We aim to have the portacabin evacuated within 3 minutes,as follows:

  - When alarm sounds, all staff ensure that children leave what they are doing immediately and line up at the main door if possible.  (If necessary, there is an alternative fire exit on the opposite side of the portacabin. Children practice fire drills regularly & become familiar with the sound of the alarm.

  - Room leader will take charge, allocating tasks to other members of staff.  These include getting the first aid kit and inhalers, the register and signing in books, the contacts files, and a mobile phone.

  - A staff member will be sent down to the bottom of the ramp.  Children will exit the room first, with and under the control of all pre-school staff.

  - Children line up at the bottom of the ramp and then follow the staff member out of the gate.  They walk along the white line marked down the side of the car park, along the fence by the courts, until they reach the far corner by the courts, where they assemble.

  - Any disabled persons will be assisted by the fire marshalls, to exit the room if necessary.

  - Disabled adults and any other adults / visitors will leave the room immediately after the children, and follow them to the assembly point.  Once at the assembly point, the room leader or allocated staff member will call the register, using the signing in books to support this, particularly over the lunch hour when there is a lot of movement of children and adults.  Visitors’ book will be used to ensure that all visitors have left the premises.

  - Nobody will return to the building until given the ‘all clear’ by the manager or deputy.

  - If returning to the building is not possible, the manager or deputy will / or will delegate a member of staff to begin contacting parents to inform them of events, and if necessary, to come and collect their children.  Parents will sign children out as usual.

  - The manager, deputy or delegated person will liase with the emergency services as soon as possible, as follows:

- Dial 999 and ask clearly for the service required – police, fire or ambulance.

- Provide the following information:

      - Name

      - Telephone number you are phoning from.

      - The name of the pre-school

      - The address – Fort Hill Secondary School

Kenilworth Road

Winklebury

Basingstoke

RG23 8JQ

- The location of the pre-school building at the far end of the car park

- Any other relevant information eg if there are casualties, danger still present, etc.

- Send an adult to the entrance to Fort Hill School on Kenilworth Road, to meet the emergency services and guide them in.

Fire Drills

We hold fire drills at least once every half term.  We record the following information about each drill / evacuation in the Fire Safety Log:

- The date and time of the drill / evacuation.

- Number of adults and children involved is in the register and visitors’ book and easily matched to the date of the drill.

- How long it took to evacuate.

- Whether there were any problems that delayed evacuation.

- Any further action taken to improve the drill procedure.

## Fire Protection Systems - Fixed

The portacabin is fitted with an alarm that will sound automatically in the event of a fire.  The alarm is tested weekly by the manager or deputy, alternately testing the three call points.  All testings and activations (actual and false) will be logged in the fire record log.

## Fire Protection Systems - Portable Equipment

A fire extinguisher is available inside the main entrance next to the main door and a second one outside the office door.  However, this equipment would only be used as a last resort, as the pre-school’s priority is to evacuate all persons, adult and child, from the building as quickly as possible.  The kitchen is fitted with a fire blanket.

## Fire Reporting and Investigation

All fires must be reported to the manager or deputy, dependent who is on duty that day immediately.  If the manager is not in the setting on the day of the fire, she must be appraised of the situation as soon as possible after the event, once all safety measures have been followed.  The size of the fire is irrelevant, as unless reports are made on all fires, trends and / or common causes cannot be identified.  It is essential that the supposed cause of the fire is reported.  Where this is not obvious, then a full investigation will be arranged with the appropriate experts.

Legal framework

- Regulatory Reform (Fire Safety) Order 2005

Further guidance

Fire Safety Risk Assessment - Educational Premises (HMG 2006)

http://www.hantsfire.gov.uk/forbusiness/firesafetyregs

| This policy was adopted at a meeting of | Castle Hill Pre-School |  |
| --- | --- | --- |
| Held on |  |  |
| Date to be reviewed |  |  |
| Signed on behalf of the provider |  |
| Name of signatory |  |
| Role of signatory (e.g. chair, director or owner) |  |

Other useful Pre-school Learning Alliance publications

- Fire Safety Record (2015)